## Slide 1: REVIEW OF WATER PROJECT SPONSORED BY: AHUS AND WATER FOR ALL
REVIEW BY:
JACINTA KARIMI NICASIO

## Slide 2: INTRODUCTION
Water: important resource for sustaining life. Clean and safe drinking water, hygiene and sanitation is important part in maintaining good health.
Rotary Doctors Sweden has been able to support communities’ access clean water through support of various RCs.
The Community makes request, form water project committee who oversee the protection of the spring, use and maintenance for sustainability for the project.

## Slide 3: THE FOLLOWING WATER PROJECT HAS BEEN SUPPORTED BY YOUR CLUB
NO | WATER PROJECTS
1 | BAHARIN COMMUNITY SHALLOW WELL
2 | BONDENI COMMUNITY SHALLOW WELL
3 | CHIEF MUTENDE PRIMARY AND COMMUNITY SHALLOW WELL
4 | KAMWANA SHALLOW COMMUNITY SHALLOW WELL.
5 | KHALWENGE DISPENSARY AND COMMUNITY SHALLOW WELL
6 | KIMASE COMMUNITY SHALLOW WELL
7 | KORONGA COMMUNITY SHALLOW WELL

## Slide 4
NO | WATER PROJECTS
8 | LUNYU COMMUNITY SHALLOW WELL.
9 | LUSHEYA COMMUNITY SHALLOW WELL.
10 | MAJI MAZURI COMMUNITY SHALLOW WELL.
11 | MARINDA DISPENSARY AND COMMUNITY SHALLOW WELL.
12 | MWANGAZA COMMUNITY SHALLOW WELL.
13 | NYANGERA COMMUNITY SHALLOW WELL.
14 | ST. EMANUEL PRIMARY AND COMMUNITY SHALLOW WELL.
15 | SUWO COMMUNITY SHALLOW WELL.
16 | TWIGA COMMUNITY SHALLOW WELL.
17 | ZEA DISPENSARY AND COMMUNITY SHALLOW WELL.

## Slide 5
NO | WATER PROJECTS
18 | MOWLEMN CENTER COMMUNITY SHALLOW WELL
19 | ST. EMMANUEL COMMUNITY SHALLOW WELL
20 | TEMBELELA COMMUNITY SHALLOW WELL

## Slide 6: NYANGERA COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
July 2015.
AGE:
5years
CATCHMENT POPULATION:
250 Households, approximately 1500persons.

## Slide 7: NYANGERA WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there, fencing posts eaten by ants
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members as they rely on this well for their safe source of water.
5 | ANY OTHER REPORT | Well maintained. Encouraged the community to keep up with the maintainance.

## Slide 8: Status of Nyangera shallow well

## Slide 9: Status nyangera shallow well

## Slide 10: SUWO COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
July/August 2016
AGE:
4years
CATCHMENT POPULATION:
150 Households, approximately 900persons.

## Slide 11: SUWO WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there there.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members as they rely on this well for their safe source of water.
5 | ANY OTHER REPORT | Well maintained. Encouraged the community to keep up with the maintenance.

## Slide 12: Status suwo shallow well

## Slide 13: Suwo status

## Slide 14: KHALWENGE DISPENSARY&COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Jan/feb 2016
AGE:
4years 7months
CATCHMENT POPULATION:
260 Households&a dispensary approximately 1380persons.

## Slide 15: KHALWENGE DISPand COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there there.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and for the daily operations of the dispensary.
5 | ANY OTHER REPORT | Well maintained. Encouraged the community to keep up with the maintenance.

## Slide 16: Status of khalwenge shallow well

## Slide 17: UMOJA COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Sept 2016
AGE:
3years 10months
CATCHMENT POPULATION:
100 Households&a dispensary approximately persons and a market

## Slide 18: UMOJA COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Still there
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members
5 | ANY OTHER REPORT | Well maintained.

## Slide 19: Umoja shallow well status

## Slide 21: KORONGA PRIMARY &COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Sept/Oct 2016
AGE:
3years 10months
CATCHMENT POPULATION:
60 Households approximately 600persons & primary school ove 400 pupils

## Slide 22: Koronga primary and community well
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there there.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and primary school when schools are open.
5 | ANY OTHER REPORT | Well maintained.

## Slide 23: Status of the Koronga shallow well

## Slide 24: Status Koronga primary shallow well

## Slide 25: KORONGA SECONDARY &COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Sept/Oct 2016
AGE:
3years 10months
CATCHMENT POPULATION:
80 Households approximately 480persons & sec school over 320student

## Slide 26: Koronga secondary and community well
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Good, the community and school replaced the old one.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and secondary school when schools are open.
5 | ANY OTHER REPORT | Well maintained.

## Slide 27: Status Koronga shallow well

## Slide 28: MARINDA DISPENSARY &COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
March/April 2016
AGE:
4years 3months
CATCHMENT POPULATION:
290 Households approximately 1740persons

## Slide 29: MARINDA DISPand COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there there.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | well used by the community members and for the daily operations of the dispensary.
5 | ANY OTHER REPORT | Well maintained.

## Slide 30: Status Marinda shallow well

## Slide 32: LUSHEYA PRIMARY and COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
July/Aug 2017
AGE:
3years
CATCHMENT POPULATION:
300 Households approximately 1800persons and a primary school

## Slide 33: LUSHEYA PRIMARYand COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Not there there.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | well used by the community members and for the primary school.
5 | ANY OTHER REPORT | Well maintained.

## Slide 34: Status lusheya shallow well

## Slide 36: BAHARINI COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
FEB/MAR 2018.
AGE:
2 years and 3months
CATCHMENT POPULATION:
122 Households, approximately 732persons.

## Slide 37: BAHARINI WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee.
2 | FENCE | Fence has been destroyed by the ants, the effort of the community to put up another also ended up being brought down.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | All the community members rely on this well for their safe source of water.
5 | ANY OTHER REPORT | Well maintained.

## Slide 38: BAHARINI WELL REVIEW PICS

## Slide 40: BONDENI COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Sept/Oct 2017.
AGE:
2 years and 9months
CATCHMENT POPULATION:
130 Households, approximately 780persons.

## Slide 41: BONDENI WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Still there though some posts needs replacement
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members as they rely on this well for their safe source of water.
5 | ANY OTHER REPORT | Well maintained.

## Slide 42: Status Bondeni well

## Slide 43: BONDENI WELL REVIEW PICS

## Slide 44: ST.EMMANUEL PRIMARY &COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Feb/March2017.
AGE:
3 years and 4months
CATCHMENT POPULATION:
70Households, approximately 420persons & a primary school of 1581

## Slide 45: ST.EMMANUEL PRIMARY& COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | There was no fence from the beggining
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the primary school when schools are open as they rely on this well for their safe source of water.
5 | ANY OTHER REPORT | Well maintained.

## Slide 46: Status st.Emmauel primary and community well

## Slide 48: ST.EMMANUEL COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Feb/March2017.
AGE:
3 years and 4months
CATCHMENT POPULATION:
650Households, approximately 3600person

## Slide 49: ST.EMMANUEL COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Not functional for over four months now! The pump handle was broken and has not be repaired.
2 | FENCE | No fence
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Not being used for the past five months
5 | ANY OTHER REPORT | The committee is not functional and therefore no one has been managing the well. The issue was addressed with the community volunteer who is working now with the area chief to form another committee and see the well repaired. For follow up.

## Slide 50: Status of St Emmanuel community well

## Slide 51: ZEA DISPENSARY$ COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Dec/Jan2018
AGE:
2 years and 7months
CATCHMENT POPULATION:
62 Households, approximately 372person and dispensary.

## Slide 52: ZEA DISPENSARY &COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, well maintained by the committee. Pump working well
2 | FENCE | Fence still maintained
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the dispensary for its daily operations .
5 | ANY OTHER REPORT | Well maintained.

## Slide 53: Status of Zea dispensary & community well

## Slide 55: KIMASE COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
July/August2018
AGE:
2 years
CATCHMENT POPULATION:
150 Households, approximately 900person.

## Slide 56: KIMASE COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Not very well maintained by the committee. Pump working well
2 | FENCE | Fence not there
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members .
5 | ANY OTHER REPORT | Committee need to be encouraged to keep the environment clean as seemed dirty.

## Slide 57: Status of kimase community shallow well

## Slide 59: KAMWANA COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
August/Sept 2018
AGE:
1 years 10Months
CATCHMENT POPULATION:
158 Households, approximately 946person

## Slide 60: KAMWANA COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Well maintained by the committee. Pump working well
2 | FENCE | There
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members .
5 | ANY OTHER REPORT | For future followup

## Slide 61: Status of Kamwana shallow well

## Slide 62: CHIEF MUTENDE PRIMARY& COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Feb/Marc 2018
AGE:
2 years 4Months
CATCHMENT POPULATION:
80 Households, approximately 480persons and 300 pupils when schools are open.

## Slide 63: CHIEF MUTENDE PRIMARY &COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Well maintained by the committee. Pump working well
2 | FENCE | Not there, well within school compound.
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the pupils when schools are open.
5 | ANY OTHER REPORT | For future follow up.

## Slide 64: Status of the chief Mutende well

## Slide 65: TWIGA COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
Feb/Marc 2019
AGE:
1Year 4Months
CATCHMENT POPULATION:
198 Households, approximately 1188persons

## Slide 66: TWIGA COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Well maintained by the committee. Pump working well
2 | FENCE | Still there
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the pupils when schools are open.
5 | ANY OTHER REPORT | Still very new less than 2 years.For future follow up.

## Slide 67: Status of Twiga shallow well

## Slide 68: MAJI MAZURI COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
May2019
AGE:
1Year 2Months
CATCHMENT POPULATION:
110Households, approximately 660persons

## Slide 69: MAJI MAZURI COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Well maintained by the committee. Pump working well
2 | FENCE | Still there
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the pupils when schools are open.
5 | ANY OTHER REPORT | Still very new less than 2 years.For future follow up.

## Slide 70: Status of the spring Maji mazuri

## Slide 71: LUNYU COMMUNITY SHALLOW WELL
PERIOD OF SINKING:
June/July 2019
AGE:
1Year
CATCHMENT POPULATION:
78 Households, approximately 468persons

## Slide 72: LUNYU COMMUNITY WELL REVIEW
NO | PARAMENTERS OF REVIEW | REPORT
1 | FUNCTIONALITY | Water, throughout the year round, Well maintained by the committee. Pump working well
2 | FENCE | Still there
3 | SIGN POST | Still standing, visible and readable.
4 | USAGE | Very well used by the community members and the pupils when schools are open.
5 | ANY OTHER REPORT | Still very new less than 2 years. For future follow up.

## Slide 73: Status Lunyu community well

## Slide 75: COMMENTS
The community shallow wells visited are doing good except one St.Emmanuel community which the pump handle broke down, no functional committee to foresee the repair.
We have scheduled for a follow-up meeting with the area chief and community to form a new committee. For future follow-up
The main challenge is fallen fencing posts in some wells.
Five or so projects have not been visited, three are just very new and once I visit them I will update the club.
It was encouraging to see most of the projects are doing well, the community is committed to maintaining them and using them.

## Slide 76: VOTE OF THANKS
To Ahus and water for all RC Sweden, on behalf of the Community, The Rotary Doctors Sweden and the Community Nursing Services. Thank you so much for this support and you can see how you have transformed the health of many in the community through safe drinking water!
THANK YOU and STAY SAFE FROM CORONA
JACINTA K. NICASIO