## Slide 1: REVIEW OF WATER PROJECTS SPONSORED
BY FALKENBERG RC’s
REVIEW BY: JACINTA K. NICASIO

## Slide 2: INTRODUCTION
Water: important resource for sustaining life. Clean and safe drinking water, hygiene and sanitation is important part in maintaining good health.
Rotary Doctors Sweden has been able to support communities’ access clean water through support of various RCs.
The Community makes request, form water project committee who oversee the protection of the spring, use and maintenance for sustainability for the project.

## Slide 3: THE FOLLOWING WATER PROJECT HAS BEEN SUPPORTED BY YOUR CLUB
KOMALA COMMUNITY SPRING
KURESOI COMMUNITY SPRING.
MUGANDA COMMUNITY SPRING
OKACHO COMMUNITY SPRING
SHAHAYA COMMUNITY SPRING
EMUTANGUCOMMUNITY SPRING
KOBIERO COMMUNITY SPRING
KABINGA COMMUNITY SPRING

## Slide 4: SPRINGS SPONSORED BY YOUR CLUBS
KAKETCH COMMUNITY SPRING
ABUTI COMMUNITY SPRING
NAUTOKOMA COMMUNITY SPRING
PARANA COMMUNITY SPRING
MANGONGO COMMUNITY SPRING
NJEREMANI COMMUNITY SPRING
WAMANYA COMMUNITY SPRING
EBUSHIKAMMI COMMUNITY SPRING
ESHIKHUIRO COMMUNITY SPRING
KHENDWA COMMUNITY SPRING

## Slide 5: SPRINGS SPONSORED BY YOUR CLUBS
KHULUTHA COMMUNITY SPRING
KISAR MUNITY SPRING
NAMBAKA COMMUNITY SPRING
USHITENDE COMMUNITY SPRING
KAMNARA COMMUNITY SPRING
KADUNYA COMMUNITY SPRING
MAPAO COMMUNITY SPRING
MUSENDA COMMUNITY SPRING
EMKWEN COMMUNITY SHALLOW WELL
UMALA GUL COMMUNITY SHALLOW WELL
KUNYU COMMUNITY SPRING

## Slide 6: KOMALA COMMUNITY SPRING
PERIOD PROTECTED:
NOV2015
AGE:
4years and 8months
CATCHMENT POPULATION:
200 Households, approximately 1200persons.

## Slide 7: KOMALA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow good can take less than 2 min to fill a 20 water bucket . Drainage well maintained The spring never dries up.
2 | FENCE | Destroyed, post eaten by termites..
3 | SIGN POST | Was rusted and not readable and was taken away.
4 | USAGE | Used by lots of community members
5 | ANY OTHER REPORT | Functional committee, encouraged to repair the fence. For future follow-up.

## Slide 8: Status Komala spring

## Slide 9: KURESOI COMMUNITY SPRING
PERIOD PROTECTED:
SEP/OCT 2015
AGE:
4yrs 10 months
CATCHMENT POPULATION:
140Households, approximately 840persons.

## Slide 10: KURESOI SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow, fills a 20 water bucket within 30 seconds, Drainage well maintained Spring never dries up
2 | FENCE | Not there. But the catchment tress growing well
3 | SIGN POST | Not there, the community just woke up one day and didn’t find it.
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | Functional committee, well protected source with the seedlings already grown. The committee encouraged to do the fencing to protect the animals from grazing at the catchment area. For future follow-up

## Slide 11: Status of Kuresoi spring

## Slide 12: Status of kuresoi spring 2018.

## Slide 13: MUGANDA COMMUNITY SPRING
PERIOD PROTECTED:
SEPT2016
AGE:
3Yrs and 9Months
CATCHMENT POPULATION:
64Households, approximately 372 persons.

## Slide 14: MUGANDA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 30sec The drainage well maintained The spring never dries up
2 | FENCE AND DRAINAGE | No fence, the posts were eaten by ants
3 | SIGN POST | Still standing and readable.
4 | USAGE | Heavily used by all the house hold for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The community still happy and appreciates the project

## Slide 15: Status of muganda spring

## Slide 16: OKACHO COMMUNITY SPRING
PERIOD PROTECTED:
JULY 2016
AGE:
4YRS
CATCHMENT POPULATION:
50Households, approximately 300 persons.

## Slide 17: OKACHO SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 2min .The drainage well maintained The spring never dries up. The pipe slightly worn out.
2 | FENCE AND DRAINAGE | No fence, the posts were eaten by ants
3 | SIGN POST | Still there and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. The community encouraged through the committee to replace the pipe. For future follow-up.

## Slide 18: Status Okacho spring

## Slide 19: SHAHAYA COMMUNITY SPRING
PERIOD PROTECTED:
JULY 2016
AGE:
4YRS
CATCHMENT POPULATION:
70Households, approximately420 persons.

## Slide 20: SHAHAYA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 5min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | No fence, the posts were eaten by ants
3 | SIGN POST | Not there, rusted and was removed by the spring committee chairman.
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 21: Status of Shahaya spring

## Slide 22: EMUTANGU COMMUNITY SPRING
PERIOD PROTECTED:
JULY 2016
AGE:
4YRS
CATCHMENT POPULATION:
105 Households, approximately 630 persons.

## Slide 23: EMUTANGU’ SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 3min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 24: Status Emutangu’ spring

## Slide 25: KOBIERO COMMUNITY SPRING
PERIOD PROTECTED:
MAY 2016
AGE:
4YRS
CATCHMENT POPULATION:
397 Households, approximately almost 2000 persons.

## Slide 26: KOBIERO SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 4min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 27: Status of Kobiero spring

## Slide 28: KABINGA COMMUNITY SPRING
PERIOD PROTECTED:
APRIL 2016
AGE:
4YRS and 3M
CATCHMENT POPULATION:
280 Households, approximately almost 2000 persons.

## Slide 29: KABINGA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a20 liter container in less than 3min Drainage well maintained Pipe worn-out needs replacement. The spring never dries up.
2 | FENCE AND DRAINAGE | Fence not there, fencing posts eaten by ants and fallen.
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 30: Status of Kabinga spring

## Slide 31: ABUTI COMMUNITY SPRING
PERIOD PROTECTED:
JAN/FEB 2016
AGE:
4YRS and 7M
CATCHMENT POPULATION:
100 Households, approximately almost 600 persons.

## Slide 32: ABUTI SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a 20 little container in less than 10sec Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence not there, fencing posts eaten by ants and fallen.
3 | SIGN POST | Standing and readable
4 | USAGE | Heavily used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 33: Status of the spring

## Slide 35: NAUTOKOMA COMMUNITY SPRING
PERIOD PROTECTED:
OCT 2018
AGE:
4YRS and 7M
CATCHMENT POPULATION:
107 Households, approximately almost 642 persons.

## Slide 36: NAUTOKOMA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a 20 litter container in less than 30sec Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence not there, fencing posts eaten by ants and fallen.
3 | SIGN POST | Standing and readable
4 | USAGE | Heavily used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 37: Status of the spring

## Slide 38: PARANA COMMUNITY SPRING
PERIOD PROTECTED:
MAY 2018
AGE:
2YRS and 2M
CATCHMENT POPULATION:
100 Households, approximately almost 600 persons.

## Slide 39: PARANA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a 20 litter container in less than 5MIN Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there
3 | SIGN POST | Standing and readable
4 | USAGE | Heavily used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 40: Status parana spring

## Slide 41: Status parana spring

## Slide 42: MANGONGO COMMUNITY SPRING
PERIOD PROTECTED:
FEB/MARC 2018
AGE:
2YRS and 2M
CATCHMENT POPULATION:
133 Households, approximately almost 700 persons.

## Slide 43: MANGONGO SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Water flow throughout the year and fills a 20 litter container in less than 3min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and overgrown shrubs to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Heavily used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 44: Status of the spring

## Slide 46: NJEREMANI COMMUNITY SPRING
PERIOD PROTECTED:
FEB/MARC 2018
AGE:
2YRS and 2M
CATCHMENT POPULATION:
55 Households, approximately almost 330 persons.

## Slide 47: NJEREMANI SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Slightly not heavy water flow and fills a 20 litter container in less than 5min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 48: Status of the spring njeremani

## Slide 49: WAMANYA COMMUNITY SPRING
PERIOD PROTECTED:
FEB/MARC 2018
AGE:
2YRS and 2M
CATCHMENT POPULATION:
98 Households, approximately almost 588 persons.

## Slide 50: WAMANYA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Slightly not heavy water flow and fills a 20 litter container in less than 5min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 51: Status wamanya spring

## Slide 52: EBUSHIKAMI COMMUNITY SPRING
PERIOD PROTECTED:
April/May 2019
AGE:
1yr and 2M
CATCHMENT POPULATION:
68 Households, approximately almost 340 persons.

## Slide 53: EBUSHIKAMI SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Slightly not heavy water flow and fills a 20 litter container in less than 5min Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. For future follow-up.

## Slide 54: Status of Ebushikami spring

## Slide 56: KHENDWA COMMUNITY SPRING
PERIOD PROTECTED:
Oct /Nov 2019
AGE:
9Months
CATCHMENT POPULATION:
120 Households, approximately almost 720 persons.

## Slide 57: KHENDWA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow and fills a 20 litter container in less than 5 sec Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals.
5 | ANY OTHER REPORT | The committee still functional. Some members of the community using the fence as cloth line, it was discussed that should stop. Still very new ,For future follow-up.

## Slide 58: Status of Khendwa spring

## Slide 59: KHULUTHA COMMUNITY SPRING
PERIOD PROTECTED:
April/May 2019
AGE:
1Yr 2Months
CATCHMENT POPULATION:
180 Households, approximately almost 720 persons.

## Slide 60: KHULUTHA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. Still very new ,For future follow-up.

## Slide 61: Status Khulutha spring

## Slide 62: KISAR COMMUNITY SPRING
PERIOD PROTECTED:
JAN/FEB 2019
AGE:
1Yr 5Months
CATCHMENT POPULATION:
80 Households, approximately almost 420 persons.

## Slide 63: KISAR SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. Still very new ,For future follow-up.

## Slide 64: Status of Kisar spring

## Slide 66: NAMBAKA COMMUNITY SPRING
PERIOD PROTECTED:
Oct/Nov 2019
AGE:
10Months
CATCHMENT POPULATION:
59 Households, approximately almost 356 persons.

## Slide 67: NAMBAKA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. Still very new ,For future follow-up.

## Slide 68: Status of Nambaka spring

## Slide 69: USHITENDE COMMUNITY SPRING
PERIOD PROTECTED:
April/May 2019
AGE:
1Yr 2Months
CATCHMENT POPULATION:
78 Households, approximately almost 468 persons.

## Slide 70: USHITENDE SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. Still very new ,For future follow-up.

## Slide 71: Status of ushitende spring

## Slide 72: KAMNARA COMMUNITY SPRING
PERIOD PROTECTED:
Oct 2017
AGE:
2 yrs 10Months
CATCHMENT POPULATION:
150 Households, approximately almost 900 persons.

## Slide 73: KAMNARA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. Still very new ,For future follow-up.

## Slide 74: Status of Kamnara spring

## Slide 75: KADUNYA COMMUNITY SPRING
PERIOD PROTECTED:
Sept 2017
AGE:
2Yrs 11months
CATCHMENT POPULATION:
105 Households, approximately almost 630 persons.

## Slide 76: KADUNYA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional.

## Slide 77: Status Kadunya spring

## Slide 78: MAPAO COMMUNITY SPRING
PERIOD PROTECTED:
April2017
AGE:
2Yrs 11months
CATCHMENT POPULATION:
303 Households, approximately almost 1800 persons.

## Slide 79: MAPAO SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage slightly blocked The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. The committee encouraged to maintain the spring

## Slide 80: Status of Mapao spring

## Slide 82: MUSENDA COMMUNITY SPRING
PERIOD PROTECTED:
Feb2017
AGE:
2Yrs 11months
CATCHMENT POPULATION:
265 Households, approximately almost 1700persons.

## Slide 83: MUSENDA SPRING REVIEW REPORT
 | PARAMETOR OF REVIEW | REPORT
1 | FUNCTIONALITY | Good water flow Drainage well maintained The spring never dries up.
2 | FENCE AND DRAINAGE | Fence still there and shrubs growing well to protect the water source
3 | SIGN POST | Standing and readable
4 | USAGE | Well used by the community for drinking, cooking, washing and laundry and for animals though at the time of visit we didn’t get anyone fetching. Wrong timing!
5 | ANY OTHER REPORT | The committee still functional. The committee encouraged to maintain the spring

## Slide 84: Status Musenda spring

## Slide 86: COMMENTS
The springs visited are doing well .
The main challenge is fallen fencing posts in some spring.
Four projects have not been visited and once I visit them I will update the club, they includes: Eshikwiro, Kunyu, Kaketch community springs and Emkwen and Umala gul togo community shallow wells.
It was encouraging to see most of the projects are doing well, the community is committed to maintaining them and using them.

## Slide 87: VOTE OF THANKS
To Falkenberg RC Sweden, on behalf of the Community, The Rotary Doctors Sweden and the Community Nursing Services. Thank you so much for this support and you can see how you have transformed the health of many in the community through safe drinking water!
THANK YOU and STAY SAFE FROM CORONA
JACINTA K. NICASIO